**European Union Rule of Law Mission in Kosovo**

**EULEX Kosovo**

Ndertesa Farmed

“Muharrem Fejza” p.n.

Lagja e Spitalit

10000 Pristina, Kosovo

[www.eulex-kosovo.eu](http://www.eulex-kosovo.eu)

**CLARIFICATIONS No. 1**

**PUBLICATION REFERENCE: PROC/873/19/Supply of Construction Materials No.7 - Electrical Material (Europeaid/140247/ID/SUP/XK)**

**Questions regarding Technical Specifications**

|  |  |  |
| --- | --- | --- |
| QuestionNo | Question | Answer |
| 1 | **Item No. 41**1- Mac Adam scale ≤6 sdcm means the product can have color temperature shifting more then 100K so the product will have color temperatue 3900≤T≤4100KIt is ok for you?2- can we offer an product with better efficacity?If yes, we must offer an product with less power ..It is ok for you?3- What is te importance of Product weight?Can we offer an product with different weight ?If not , please give us the exact product code you have decided , you need. | Please refer to Corrigendum no.1Electrical material must be CE marked respecting the EU standards/norms. |
| 2 | **Item No. 42**1-This ledvance product is made in China .Can we offer also an made in chinA product ?2- 1- Mac Adam scale ≤5 sdcm means thw product can have color temperature shifting more then 100K so the product will have color temperatue 2900≤T≤3100KIt is ok for you?3-Wich is the warranty you need?In the same specification you have written …Minimum Warranty ≥ 2 Years, …..Minimum Warranty 1 Year | No rule of origin is applied, as long as the product must be CE marked respecting the EU standards/norms. (CECBROHS)Please refer to Corrigendum no.1 |
| 3 | **Item No. 43**1-This ledvance product is made in China .Can we offer also an made in China product ?2- 1- Mac Adam scale ≤5 sdcm means thw product can have color temperature shifting more then 100K so the product will have color temperatue 2900≤T≤3100KIt is ok for you?3-Wich is the warranty you need?In the same specification you have written …Minimum Warranty ≥ 2 Years, …..Minimum Warranty 1 Year | No rule of origin is applied, as long as the product must be CE marked respecting the EU standards/norms. (CECBROHS)Please refer to Corrigendum no.1. |
| 4 | **Item No. 45**1-This ledvance product is made in China .Can we offer also an made in chine product ?2- 1- Mac Adam scale ≤5 sdcm means thw product can have color temperature shifting more then 100K so the product will have color temperatue 3900≤T≤4100KIt is ok for you?3-Wich is the warranty you need?In the same specification you have written …Minimum Warranty ≥ 2 Years, …..Minimum Warranty 1 Year | No rule of origin is applied, as long as the product must be CE marked respecting the EU standards/norms. (CECBROHS)Please refer to Corrigendum no.1 |
| 5 | **Item No. 46**1-This product have sensor inside !Looking the carachteristics , It is an tipical Made in Chine product!Can we offer also an Made in Chine product ?2- this product has an very low effcacity (60lm/w) can we offer an product with better efficacity?If yes, we must offer an product with less power**It is ok for you?** | No rule of origin is applied, as long as the product must be CE marked respecting the EU standards/norms. (CECBROHS)Please refer to Corrigendum no.1 |
| 6 | **Item No. 49**1- Mac Adam scale ≤6 sdcm means thw product can have color temperature shifting more then 100K so the product will have color temperatue 3900≤T≤4100KIt is ok for you?2- can we offer an product with better efficacity?If yes, we must offer an product with less power ..It is ok for you?3- What is te importance of Product weight?Can we offer an product with different weight ?If not , please give us the exact product code you have decided , you need. | No rule of origin is applied, as long as the product must be CE marked respecting the EU standards/norms. (CECBROHS)Please refer to Corrigendum no.1 |
| 7 | **Item No. 51**- this product has an very low effcacity (80lm/w) can we offer an product with better efficacity?If yes, we must offer an product with less power**It is ok for you?**Can we offer an product with equal length but different width and height ? | No rule of origin is applied, as long as the product must be CE marked respecting the EU standards/norms. (CECBROHS)Please refer to Corrigendum no.1 |
| 8 | **Item No. 52**Looking the carachteristics , It is an tipical Made in China product!Can we offer also an Made in China product ?2- this product has an very low effcacity (81lm/w) can we offer an product with better efficacity?If yes, we must offer an product with less power**It is ok for you?**3-Can we offer an product with equal length but different width and height ? | No rule of origin is applied, as long as the product must be CE marked respecting the EU standards/norms. (CECBROHS)Please refer to Corrigendum no.1 |
| 9 | **Item No. 53**Looking the carachteristics , It is an tipical Made in China product!Can we offer also an Made in China product ?2- this product has an very low effcacity (80lm/w) can we offer an product with better efficacity?If yes, we must offer an product with less power**It is ok for you?**3-Can we offer an product with different measures? | No rule of origin is applied, as long as the product must be CE marked respecting the EU standards/norms. (CECBROHS)Please refer to Corrigendum no.1 |