European Union Rule of Law Mission in Kosovo

EULEX Kosovo

Ndertesa Farmed

“Muharrem Fejza” p.n.

Lagja e Spitalit

10 000 Pristina, Kosovo

Tel: + (381) 38 78 2000

http://www.eulex-kosovo.eu

# CLARIFICATIONS (1)

PUBLICATION REFERENCE: PROC/784/17 Supply of AC Units and spare parts for central heating plants (FWC) No.2 (EuropeAid/139662/ID/SUP/XK)

1.  Questions regarding Part B: Annex II - Technical Specifications of the Tender Dossier

| Question number 1 | Can you please tell us more about the pumps below, for example what kind of pumps they are, their capacity, are they circulators? 70 Water Pump IMP Ø 100mm (Ghbasic 100-120F) QTY: 1 pcs 71 Water Pump Groundfos Ø 32mm QTY: 1 pcs 73 Water Pump Groundfos Ø 80mm QTY: 1 pcs 74 Water Pump Wilo Ø 35mm QTY: 1 pcs 76 Water Pump Wilo Ø 50mm QTY: 1 pcs | Please be informed that all the pumps are water circulation pumps for central heating plants. Please note that the information already provided in the Technical Specifications should suffice to understand the capacity of each water pump. |
| --- | --- | --- |